21 CFR Part 11 Assessment Checklist

Computerized Systems | Electronic Records and Electronic Signatures

| Document No. | ________________ | Revision | ________ |
| --- | --- | --- | --- |
| Effective Date | ________________ | Page Status | Draft / Approved |

# Purpose and Use

Purpose. Use this questionnaire to document the applicability of 21 CFR Part 11 and evaluate the controls implemented for a specific computerized system.

Response rules. Select Yes, No, N/A, or Not Assessed. A Yes response should identify objective evidence. A No response should identify a gap or required action. N/A requires a system-specific justification. Not Assessed requires an owner and completion date.

Important: This checklist supports a system-specific assessment. It does not replace evaluation of applicable predicate rules, the current text of 21 CFR Part 11, FDA guidance, validation evidence, or Quality Unit approval.

# System Information

| System name |  | System ID |  |
| --- | --- | --- | --- |
| Application/version |  | Supplier |  |
| Business process |  | Hosting model |  |
| Intended use |  | System owner |  |
| Process owner |  | Technical owner |  |
| Assessor |  | Assessment date |  |
| Predicate rule(s) |  | Record-retention period |  |
| Authoritative record |  | System type | Closed / Open / Hybrid |
| Electronic signatures | Yes / No | Part 11 applicable | Yes / No / Partial |

# Part 11 Assessment Questionnaire

Enter the selected response and identify the applicable control, document, specification, test, procedure, record, or remediation action in the Evidence / Comments column.

## A. Applicability and System Context

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 1 | 11.1 | Does an FDA predicate rule require the record to be maintained or submitted? | Yes No N/A Not assessed |  |
| 2 | 11.1 | Is the required record created, modified, maintained, archived, retrieved, or transmitted electronically? | Yes No N/A Not assessed |  |
| 3 | 11.1 | Does the organization rely on the electronic record to perform a regulated activity or demonstrate compliance? | Yes No N/A Not assessed |  |
| 4 | 11.1 | Has the authoritative record source been identified for each applicable electronic record? | Yes No N/A Not assessed |  |
| 5 | 11.1 | Are electronic signatures used in place of required handwritten signatures, initials, or other signings? | Yes No N/A Not assessed |  |
| 6 | 11.3 | Has the system been classified as closed, open, or hybrid, with the rationale documented? | Yes No N/A Not assessed |  |

## B. Controls for Closed Systems

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 7 | 11.10(a) | Has the system been validated to ensure accuracy, reliability, consistent intended performance, and the ability to discern invalid or altered records? | Yes No N/A Not assessed |  |
| 8 | 11.10(b) | Can the system generate accurate and complete copies of records in both human-readable and electronic form? | Yes No N/A Not assessed |  |
| 9 | 11.10(c) | Are records protected to enable accurate and ready retrieval throughout the required retention period? | Yes No N/A Not assessed |  |

## B. Controls for Closed Systems (continued)

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 10 | 11.10(d) | Is system access limited to authorized individuals? | Yes No N/A Not assessed |  |
| 11 | 11.10(e) | Are secure, computer-generated, time-stamped audit trails used to record applicable operator actions and record changes? | Yes No N/A Not assessed |  |
| 12 | 11.10(e) | Do audit trails preserve previous information and remain available for the required record-retention period? | Yes No N/A Not assessed |  |
| 13 | 11.10(f) | Are operational checks used where necessary to enforce the permitted sequence of steps and events? | Yes No N/A Not assessed |  |
| 14 | 11.10(g) | Are authority checks used to ensure that only authorized individuals can use the system, sign records, alter records, or perform specified operations? | Yes No N/A Not assessed |  |
| 15 | 11.10(h) | Are device checks used where necessary to verify the validity of input sources or operational instructions? | Yes No N/A Not assessed |  |
| 16 | 11.10(i) | Are personnel who develop, maintain, administer, or use the system qualified by education, training, and experience? | Yes No N/A Not assessed |  |
| 17 | 11.10(j) | Are written policies established to hold individuals accountable for actions initiated under their electronic signatures? | Yes No N/A Not assessed |  |
| 18 | 11.10(k) | Are system-operation and maintenance documents adequately controlled, distributed, accessed, revised, and archived? | Yes No N/A Not assessed |  |
| 19 | 11.10(k) | Is a chronological audit trail maintained for changes to controlled system documentation where applicable? | Yes No N/A Not assessed |  |

## C. Controls for Open Systems

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 20 | 11.30 | If the system is open, are controls applied to protect record authenticity, integrity, and confidentiality from creation through receipt? | Yes No N/A Not assessed |  |
| 21 | 11.30 | Are additional measures such as encryption or appropriate digital-signature standards used where necessary? | Yes No N/A Not assessed |  |
| 22 | 11.30 | Are external access, transmission paths, service providers, and security responsibilities documented and controlled? | Yes No N/A Not assessed |  |

## D. Signature Manifestation and Record Linking

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 23 | 11.50 | Do signed electronic records display the signer's printed name, execution date and time, and signature meaning? | Yes No N/A Not assessed |  |
| 24 | 11.50 | Is signature-manifestation information included in human-readable copies of the signed record? | Yes No N/A Not assessed |  |
| 25 | 11.70 | Are electronic and handwritten signatures linked to their respective electronic records so they cannot be excised, copied, or transferred to falsify another record? | Yes No N/A Not assessed |  |

## E. Electronic-Signature Controls

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 26 | 11.100(a) | Is each electronic signature unique to one individual and prohibited from reuse or reassignment? | Yes No N/A Not assessed |  |
| 27 | 11.100(b) | Is the individual's identity verified before an electronic signature is established or assigned? | Yes No N/A Not assessed |  |
| 28 | 11.100(c) | Where required, has the organization certified to FDA that its electronic signatures are intended to be the legally binding equivalent of handwritten signatures? | Yes No N/A Not assessed |  |

## E. Electronic-Signature Controls (continued)

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 29 | 11.200(a) | Do nonbiometric electronic signatures employ at least two distinct identification components, such as an identification code and password? | Yes No N/A Not assessed |  |
| 30 | 11.200(a) | Are electronic-signature components controlled so that they are used only by their genuine owners and cannot be used collaboratively? | Yes No N/A Not assessed |  |
| 31 | 11.200(b) | If biometric electronic signatures are used, are they designed so that they cannot be used by anyone other than their genuine owners? | Yes No N/A Not assessed |  |
| 32 | 11.300 | Are identification codes and passwords uniquely assigned, periodically checked or revised, protected from unauthorized use, and promptly deauthorized when compromised? | Yes No N/A Not assessed |  |

## F. Hybrid, Legacy, and Remediation Controls

| No. | CFR | Assessment question | Response | Evidence / comments |
| --- | --- | --- | --- | --- |
| 33 | 11.1 / Guidance | For hybrid arrangements, are the paper and electronic components, authoritative record, review method, and retention responsibilities clearly defined? | Yes No N/A Not assessed |  |
| 34 | 11.10 / Guidance | For legacy systems, have limitations affecting Part 11 controls been identified and documented? | Yes No N/A Not assessed |  |
| 35 | 11.10 / Guidance | Are procedural or compensating controls defined, justified, implemented, and periodically reviewed where technical controls are limited? | Yes No N/A Not assessed |  |
| 36 | 11.10 / Guidance | Are identified gaps assigned to documented remediation actions with owners, due dates, interim controls, and approval? | Yes No N/A Not assessed |  |

# Assessment Summary

| Applicable questions |  | Yes responses |  |
| --- | --- | --- | --- |
| No responses |  | Not assessed |  |
| N/A responses |  | Open actions |  |
| Overall conclusion | Acceptable / Conditionally acceptable / Unacceptable | Residual risk | Low / Medium / High |

## Identified Gaps and Required Actions

| Item | Gap or required action | Interim control | Owner | Due date |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

# Approval

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Assessor |  |  |  |
| System / Process Owner |  |  |  |
| Quality Unit |  |  |  |

# References

• 21 CFR Part 11, Electronic Records; Electronic Signatures.

• FDA, Guidance for Industry: Part 11, Electronic Records; Electronic Signatures - Scope and Application.